Course specifications of

Measurements - MEP 281

University: Ain Shams 	Faculty: Engineering

Programme on which the course is given

Major or minor element of programme

Department offering the programme

Department offering the course : Academic year/ Level :

Date of specification approval :

Mechanical power, Automotive, Production and Mechatronic Engineering.

N.A.

Mechanical power, Automotive, Production and Mechatronic Engineering.

Mechanical power engineering

Third year

1/2/2018

Title :

Credit Hours :

Measurements

N.A.

A- Basic Information

code : Lecture :

MEP-281

3

Tutorial : 	0

B- Professional Information

Practical  2

Total:  5

1 – Overall aims of course

By the end of the course the students will be able to:

e Practice knowledge of the concepts of calibration of measuring instruments.

e Demonstrate knowledge and understanding of different measuring systems.

e Show knowledge of the performance characteristics of measuring instruments and error estimation .

e Use and employ appropriate instrumentation to measure various fluid parameters such as : pressure, flow, velocity and temperature as well as force, stress, and strain and make the necessary analysis of combustion gases.

2- Intended learning outcomes of course (ILOs)

a-Knowledge and understanding

a1 - a2 -

Define the sources of various errors, perform calibration and explain the performance characteristics of measuring instruments.

Outline and describe different measuring instruments used to measure pressure, flow, velocity, temperature, forces, stresses and strain and to to analyze the products of combustion gases.

a3 - a4 -

Interpret different techniques employed by various instruments. Describe the selection criteria between different measuring instruments.

b-Intellectual skills

b1 - b2 -

Analyze the theory of operation of different measuring devices. Differentiate between various methods for measuring fluid  parameters.

c-Professional and practical skills

c1 - c2 -

c3 -

Employ an appropriate measuring device and necessary lab equipments Demonstrate and perform experiments in the lab and field within proper technical, safety and ethical framework.

Analyze and estimate errors produced from different measuring devices.

d-General and transferable skills

d1 - d2 - d3 -

Evaluate reports in accordance with the standard scientific guidelines. Asses and perform experiments.

Score and work efficiently within a team.

3- Contents

|  | No | Course Content | Lab_ Experiments_ | Lectures_ | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1 | Performance Characteristics of measuring instruments: calibration, fixed and random errors, error estimation, sensitivity, linearity, dynamic characteristics. .Experiment (1): Statistical analysis of errors. experiment (1):Probability Analysis of Scattered data | 2 | 10 | 12 |  |
|  | 2 | Pressure Measurements: mechanical pressure transducers, manometers, elastic pressure measurements, electrical pressure transducers, inductive transducers, piezo-electric transducer, strain gauges. Experiments (2,3): Calibration of pressure measuring device | 4 | 10 | 14 |  |
|  | 3 | Flow Measurements: orifice nozzles, venturi, turbine flow meters, magnetic flow meters, rota-meters, positive displacement flow meters, ultrasonic meters. Experiments (4,5): Calibrating Different Kinds of flow Meters Fitted on an Experimental flow bench. | 4 | 10 | 14 |  |
|  | 4 | Velocity measurements: Pitot tube, laser Doppler velocimetry, hot wire anemometer. Experiment (6):Pitot tube velocity survey on a air flow pipe cross- section. | 2 | 7 | 9 |  |
|  | 5 | Temperature Measurements: Thermal expansion thermometers, bimetallic expansion, resistance thermometers, semi conductor thermometers, thermocouples, thermal radiation thermometers. Experiments(7,8): Performance comparison of various temperature measuring d | 4 | 10 | 14 |  |

4- Assessment schedule

| Assessment method | No | Description | Week No | Weight (%) |  |
| --- | --- | --- | --- | --- | --- |
| Reports | 1 | Experiment(1) Statistical analysis of errors. | Week 2 | 4 |  |
| Reports | 2 | Experiment (2)Pressure measurements | Week 3 | 4 |  |
| Reports | 3 | Experiment (3)pressure measurements | Week 4 | 3 |  |
| Reports | 4 | Experiment(4) Flow measurements | Week 5 | 4 |  |
| Reports | 5 | Experiment(5) Flow measurements | Week 6 | 4 |  |
| Reports | 6 | Experiment(6) Pitot-tube velocity survey | Week 8 | 4 |  |
| Reports | 7 | Experiment(7) Temperature measurements | Week 10 | 3 |  |
| Reports | 8 | Experiment(8) Temperature measurements | Week 11 | 4 |  |
| Oral Exam | 9 | Oral exam | Week 13 | 10 |  |
| Final Exam | 10 | Written exam | Week 15 | 60 |  |
| Total |  |  |  | 100 % |  |

5- List of references

5. 1

5. 2

5. 3

5. 4

Course notes

- Lecture and Experiments Notes: To be handed to the students in parts.

Essential books (text books)

Holman, J.P., "Experimental Methods for Engineers", McGraw Hill, 1990.

Recommended  books

Sawhney, A.K.," A Course in Mechanical Measurements and

Instrumentation",  Dhanpat and Sons, Delhi, 1989.

Doebelin, Erest O.," Measurements Systems Application and Design", McGraw Hill, 1990.

Periodicals, Web sites, … etc

- ----- ----- ----- ----- -----

6- Facilities required for teaching and learning

e Computers

e Laboratories

e Laboratory equipments and measurement instrumentations.

e Teaching Aids(Presentation board, overhead projector, data show)

Course Content/ILO Matrix

|  | Course Content | a1 | a2 | a3 | a4 | b1 | b2 | c1 | c2 | c3 | d1 | d2 | d3 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Performance Characteristics of measuring instruments: calibration, fixed and random errors, error estimation, sensitivity, linearity, dynamic characteristics. Experiment (1): Statistical analysis of errors. Experiment (1):Probability Analysis of Scattered data | • | • | • |  |  | • |  |  |  | • |  |  |  |
|  | Pressure Measurements: mechanical pressure transducers, manometers, elastic pressure measurements, electrical pressure transducers, inductive transducers, piezo electric transducer, strain gauges. Experiments (2,3): Calibration of pressure measuring device | • | • | • | • |  | • | • |  |  | • | • |  |  |
|  | Flow Measurements: orifice nozzles, venturi, turbine flow meters, magnetic flow meters, rota-meters, positive displacement flow meters, ultrasonic meters. Experiments (4,5): Calibrating Different Kinds of flow Meters Fitted on an Experimental flow bench. |  | • | • |  | • | • |  |  | • | • | • |  |  |
|  | Velocity measurements: Pitot tube, laser Doppler velocimetry, hot wire anemometer. Experiment (6):Pitot tube velocity survey on a air flow pipe cross-section. |  | • |  | • | • |  | • |  | • | • | • |  |  |
|  | Temperature Measurements: Thermal expansion thermometers, bimetallic expansion, resistance thermometers, semi conductor thermometers, thermocouples, thermal radiation thermometers. Experiments(7,8): Performance comparison of various temperature measuring d | • | • | • |  | • | • | • |  | • |  | • | • |  |

Course Content/ILO Matrix

|  | Course Content | a1 | a2 | a3 | a4 | b1 | b2 | c1 | c2 | c3 | d1 | d2 | d3 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Analysis of Combustion Products: props, sample condition, gas analysis, equipments for measuring O2, CO, CO2, UHC, Nox and Sox, Gas chromatography. Experiment (9): Using the Orsat Apparatus to Analyze the Products of Combustion Gases Products. |  |  | • |  |  | • |  |  | • |  |  | • |  |
|  | Force Measurements: weights and springs, calibrating rings, strain and deflection measurements. |  |  | • | • | • |  |  | • |  | • | • |  |  |
|  | Strain and Stress Measurements: load cells , strain gauges. |  | • |  | • | • |  |  |  | • | • |  | • |  |

Learning Method /ILO Matrix

|  | Learning Method | a1 | a2 | a3 | a4 | b1 | b2 | c1 | c2 | c3 | d1 | d2 | d3 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Lectures. | • | • | • | • | • | • | • | • | • | • | • | • |  |
|  | Lab. Experiments. | • | • | • | • | • | • | • |  | • | • | • | • |  |

Assessment Methods /ILO Matrix

|  | Assessment | a1 | a2 | a3 | a4 | b1 | b2 | c1 | c2 | c3 | d1 | d2 | d3 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reports : Experiment(1) Statistical analysis of errors. | • |  |  | • | • |  |  | • | • |  |  | • |  |
|  | Reports : Experiment (2)Pressure measurements |  | • |  | • | • |  | • |  |  |  |  | • |  |
|  | Reports : Experiment (3)pressure measurements | • |  | • | • | • |  |  |  |  |  | • |  |  |
|  | Reports : Experiment(4) Flow measurements |  | • | • |  |  | • |  | • | • |  |  | • |  |
|  | Reports : Experiment(5) Flow measurements | • |  | • |  | • |  | • | • |  | • |  | • |  |
|  | Reports : Experiment(6) Pitot- tube velocity survey |  |  | • | • | • |  | • |  | • |  |  | • |  |
|  | Reports : Experiment(7) Temperature measurements | • | • |  | • |  | • |  | • |  | • |  |  |  |
|  | Reports : Experiment(8) Temperature measurements |  | • | • |  | • |  | • |  |  |  | • | • |  |
|  | Oral Exam : Oral exam |  |  | • | • | • |  |  | • |  | • | • |  |  |
|  | Final Exam : Written exam | • | • | • |  | • | • | • |  | • | • | • | • |  |