# Course Specification

# Basic Information

| MEP231 | Measurement and Instrumentation |  |  |  |  |  |  |  |  |  | 4 CH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Prerequisites | N.A. |  |  |  |  |  |  |  |  |  |  |
| Number of weekly Contact Hours |  |  |  |  |  |  |  |  |  |  |  |
| Lecture |  |  |  | Tutorial |  |  |  | Laboratory |  |  |  |
| 1 |  |  |  | 0 |  |  |  | 3 |  |  |  |
| Required SWL |  | 125 |  |  | Equivalent ECTS |  |  |  | 5 |  |  |
| Course Content |  |  |  |  |  |  |  |  |  |  |  |
| Characteristics of Sensors, Flow rate Measurement Principles, Orifice-Meter, Venturi-Meter, Coriolis Flow Meter, Turbine Flow Meter, Rotameter, Velocity Measurements, Pitot Tube, Vane Anemometer, Hot Wire Anemometer, Laser Doppler Anemometer, Particle Image Velocimetry, Pressure Measurement, Manometer, Bourdon Tube Gauge, Piezoelectric Sensor, Temperature Measurement, Thermometer, Thermocouple, Thermistor, Optical Pyrometer, Rotational Speed Meters, Tachometer, Torque Measurement, Strain Gauges, Gas Analysis, Electro-Chemical Gas Analyzer, Accuracy, Precision, Statistical Methods Error Analysis and Uncertainty. |  |  |  |  |  |  |  |  |  |  |  |
| Used in Program / Level |  |  |  |  |  |  |  |  |  |  |  |
| Program Name or requirement |  |  |  |  |  |  | Study Level |  |  |  |  |
| Mechanical Engineering Requirement |  |  |  |  |  |  | 2 |  |  |  |  |
| Manufacturing Engineering Program |  |  |  |  |  |  | 2 |  |  |  |  |
| Energy and Renewable Energy Engineering Program |  |  |  |  |  |  | 2 |  |  |  |  |
| Assessment Criteria |  |  |  |  |  |  |  |  |  |  |  |
| Student Activities |  |  | Mid-Term Exam |  |  | Practical Exam |  |  |  | Final Exam |  |
| 20% |  |  | 25% |  |  | 15% |  |  |  | 40% |  |
| Exam Duration [Hours] |  |  | 1 |  |  |  |  |  |  | 2 |  |
| Equivalent to other course in another university |  |  |  |  |  |  |  |  |  |  |  |
| University |  |  |  |  |  |  |  |  |  |  |  |
| Course code and title |  |  |  |  |  |  |  |  |  |  |  |

# Course Aims

By the end of the course, the students will be able to:

- Practice knowledge of the concepts of calibration of measuring instruments

- Demonstrate knowledge and understanding of different measuring systems

- Show knowledge of the performance characteristics of measuring instruments and error estimation

- Use and employ appropriate instrumentation to measure various fluid parameters such as: pressure, flow, velocity and temperature as well as force, stress, and strain and make the necessary analysis of combustion gases

# Program Competencies Served by Course.

- A: Faculty Requirements (A1, A2, A3)

  - A1: Identify, formulate, and solve complex engineering problems by applying engineering fundamentals, basic science and mathematics

  - A2: Develop and conduct appropriate experimentation and/or simulation, analyse and interpret data, assess and evaluate findings, and use statistical analyses and objective engineering judgment to draw conclusions.

  - A3: Communicate effectively – graphically, verbally and in writing – with a range of audiences using contemporary tools.

- B: Program Competences (B1m)

  - B1m: Model, analyse and design physical systems applicable to the specific discipline by applying the concepts of: Thermodynamics, Heat Transfer, Fluid Mechanics, solid Mechanics, Material Processing, Material Properties, Measurements, Instrumentation, Control Theory and Systems, Mechanical Design and Analysis, Dynamics and Vibrations.

  - B2m: Adopt suitable national and international standards and codes to: design, build, operate, inspect and maintain mechanical equipment and systems.

# Learning Outcomes (LOs)

| Cognitive Domain |  |
| --- | --- |
| 1 | aquintement the different types of measurements and how to analyze their results |
| Psychomotor Domain |  |
| 2 | Select proper measurement method and analysiing its results . |
| Affective Domain |  |
| 3 | Discuss the analyze the measurement results with respect to its precision. |

# Mapping

| LOs | Competences |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | A1 | A2 | A3 | B1m | B2m |
| Cognitive Domain |  |  |  |  |  |
| 1 | ● | ● |  | ● | ● |
| Psychomotor Domaine |  |  |  |  |  |
| 2 |  | ● |  | ● |  |
| Affective Domaine |  |  |  |  |  |
| 3 |  |  | ● | ● |  |

# Assessment and Feedback Strategy

- Assignments

- Laboratory Repots

- Written examination (midterm & final)

# Teaching and Learning Methods

- Lectures

- laboratory

- Self-learning

# List of References

- Holman ,J.P., "Experimental Methods forEngineers",McGrawHill,1990.

- Sawhney,  A.K.,"A Course in Mechanical Measurements and Instrumentation", Dhanpat and Sons, Delhi, 1989.

- Doebelin  ,Erest O., "Measurement Systems Application and  Design", McGrawHill,1990

# Study Plan

| Week | Course Content | Lecture Hours | Tutorial Hours | Lab Hours |
| --- | --- | --- | --- | --- |
| 1 | Performance Characteristic of measuring instruments | 1 | - | - |
| 2 | Statistical analysis of errors | 1 | - | 3 |
| 3 | Probability Analysis o f Scattered data | 1 | - | - |
| 4 | Pressure Measurements | 1 | - | 3 |
| 5 | Calibration of pressure measuring device | 1 | - | 3 |
| 6 | Flow Measurements :orifice nozzles, venturi, | 1 | - | 3 |
| 7 | Flow Measurements : turbine flow meters, magnetic flo meters, rota-meters | 1 | - | 3 |
| 8 | Flow Measurements : positive displacement flow meters, ultra-sonicmeters. | 1 | - | 3 |
| 9 | Velocity measurements: Pitot tube, hotwire anemometer | 1 | - | 3 |
| 10 | Temperature Measurements: Thermal expansion thermometers ,bimetallic expansion, resistance thermometers | 1 | - | 3 |
| 11 | Temperature Measurements: thermocouples, thermal radiation thermometers | 1 | - | 3 |
| 12 | Analysis of Combustion Products :props, sample condition, gasanalysis, equipment for measuring O2, CO, CO2, UHC, Nox and Sox | 1 | - | 3 |
| 13 | Force Measurements :weights and springs , calibrating rings, strain and deflection measurements | 1 | - | 3 |
| 14 | Revision | 1 | - |  |
| Total Number of Hours |  | 14 | 0 | 33 |

# Course Content / LO Matrix

| Wk | Course Content | 1 | 2 | 3 |
| --- | --- | --- | --- | --- |
| 1 | Performance Characteristic of measuring instruments | • |  |  |
| 2 | Statistical analysis of errors | • |  |  |
| 3 | Probability Analysis o f Scattered data | • |  |  |
| 4 | Pressure Measurements | • | • | • |
| 5 | Calibration of pressure measuring device | • | • | • |
| 6 | Flow Measurements :orifice nozzles, venturi, | • | • | • |
| 7 | Flow Measurements : turbine flow meters, magnetic flo meters, rota-meters | • | • | • |
| 8 | Flow Measurements : positive displacement flow meters, ultra-sonicmeters. | • | • | • |
| 9 | Velocity measurements: Pitot tube, hotwire anemometer | • | • | • |
| 10 | Temperature Measurements: Thermal expansion thermometers ,bimetallic expansion, resistance thermometers | • | • | • |
| 11 | Temperature Measurements: thermocouples, thermal radiation thermometers | • | • | • |
| 12 | Analysis of Combustion Products :props, sample condition, gasanalysis, equipment for measuring O2, CO, CO2, UHC, Nox and Sox | • | • | • |
| 13 | Force Measurements :weights and springs , calibrating rings, strain and deflection measurements | • | • | • |
| 14 | Revision |  |  | • |

# Assessment Methods / LO Matrix

| Assessment | 1 | 2 | 3 |
| --- | --- | --- | --- |
| Assignments | • | • | • |
| Lab | • | • | • |
| Quizzes |  |  |  |
| Mid-Term Exam | • | • | • |
| Final Exam | • | • | • |

# Learning Method / LO Matrix

| Learning Method | 1 | 2 | 3 |
| --- | --- | --- | --- |
| Lectures | • | • | • |
| Lab | • | • | • |
| Practical |  | • | • |
| Self-learning | • | • | • |